Hybrid split-arc partial-field volumetric modulated arc therapy: an improved beam arrangement for linear accelerator-based hippocampal-avoidance whole brain radiation therapy

Supplementary File

Table S1. Dose criteria of RTOG 0933 protocol

| RTOG 0933 protocol | Per protocol | Acceptable variation | Unacceptable deviation |
| --- | --- | --- | --- |
| Whole brain PTV | D2% < 37.5 Gy | D2% = 37.5 Gy | D2% > 40 Gy |
|  | D98% > 25 Gy | D98% < 25 Gy | V30 < 90% |
| Hippocampus | D100% < 9 Gy | D100% = 10 Gy | D100% > 10 Gy |
|  | Dmax < 16 Gy | Dmax = 17 Gy | Dmax > 17 Gy |
| Optic nerves and optic chiasm | Dmax < 37.5 Gy | Dmax = 37.5 Gy | Dmax > 37.5 Gy |

Figure S1. Delineation of the hippocampus made on T1-weighted MRI axial sequence images with reference to the RTOG 0933 guidelines. A. Delineation of hippocampus begins at the inferior extent of the crescentic-shaped floor of the temporal horn of the lateral ventricle. The low-density grey matter was contoured on the low signals of the cerebrospinal fluid (CSF); B. Avoid delineating the grey matter (amygdaloid nucleus and hamulus) in the fimbriae that are located superomedial to the hippocampus; C. The anterior boundary of the hippocampus is defined by the anterior edge of the temporal horn, to distinguish the hippocampus from the T1-hypointense gray matter of the amygdala, lying anterior and superior to the hippocampus. The medial boundary of the hippocampus is defined by the “boomerang-shaped” uncus; D. The uncal recess of the temporal horn defines the anterior boundary of the hippocampus. The medial boundary of the hippocampus becomes defined by the medial edge of the uncal recess; E. Postero-cranially, the medial boundary of the hippocampus is defined by the lateral edge of the quadrageminal cistern; F. The hippocampus remains medial to the temporal horn of the lateral ventricle throughout its extent; G. The hippocampal tail remains posterior to the thalamus as it curves medially toward the splenium of the corpus callosum. The hippocampus is medially located relative to the lateral ventricle; H. The postero-cranial extent of the hippocampal tail is located antero-medially to the atrium of the lateral ventricle

Table S2. Optimization objectives of major structures used in sapf-VMAT and Hsapf-VMAT

| Structures | Limit | Volume (%) | Dose [cGy] | Priority |
| --- | --- | --- | --- | --- |
| Whole brain PTV | Upper | 0 | 3300 | 80 |
|  | Upper | 1 | 3150 | 80 |
|  | Upper | 2 | 3120 | 80 |
|  | Lower | 99 | 3030 | 100 |
| Hippocampus | Mean | - | 800 | 80 |
|  | Upper | 0 | 850 | 80 |
|  | Upper | 0 | 900 | 80 |
|  | Upper | 0 | 1350 | 80 |
|  | Upper | 0 | 1360 | 80 |
|  | Upper | 0 | 1370 | 80 |
|  | Upper | 0 | 1380 | 80 |
|  | Upper | 0 | 1390 | 80 |
| Left eye | Upper | 1 | 1380 | 80 |
|  | Upper | 2.5 | 1345 | 80 |
| Right eye | Upper | 1 | 1400 | 80 |
|  | Upper | 2.5 | 1360 | 80 |
| Left lens | Upper | 0 | 600 | 80 |
|  | Upper | 0.1 | 540 | 80 |
| Right lens | Upper | 0 | 600 | 80 |
|  | Upper | 0.1 | 540 | 80 |
| Left optic nerve | Upper | 0.5 | 2970 | 80 |
|  | Upper | 1.5 | 2940 | 80 |
| Right optic nerve | Upper | 1 | 3050 | 80 |
|  | Upper | 2 | 3020 | 80 |
| Optic chiasm | Upper | 0 | 3180 | 80 |
|  | Upper | 1.5 | 3165 | 80 |

Figure S1. Beam arrangement of (A) sapf-VMAT and (B) Hsapf-VMAT. CCW — counterclockwise; CW — clockwise

Figure S3. Left (A) and (B) right static fields have been employed in Hsapf-VMAT. The eyes and lenses were shielded by the X1 collimator jaw